APPENDIX T (February 2026)

# TEN POINT PLAN FOR HOLD UP ALARMS

- FILTERING

Monitoring centres are now in a position to filter unwanted false activations, with confirmation in place false calls will be reduced.

- WITHDRAWAL OF POLICE RESPONSE

Police response will be withdrawn to the HUA part of the system after a maximum of two false calls in a rolling 12 month period.

Where a system loses response to a HUA, the security company should liaise with the end user to see if the hold-up element is necessary. If it is not required it should be removed.

See APPENDIX F ANNEXE C re restoration of HUA.

- HUA DEVICES ON CONTROL AND INDICATING EQUIPMENT (CIE) OR ANCILLARY CONTROL EQUIPMENT (ACE) SHOULD BE SEGREGATED FROM THE MAIN KEYS, DEDICATED, DEFINED AND ARE TWO SEPARATE BUTTONS (SYNCHRONISED PUSH TO ACTIVATE)

- HUA DEVICES ON CIE OR ACE SHOULD BE ENGINEER PROGRAMMED ONLY (DEFAULT OFF)

- DURESS CODES SHOULD ONLY BE ALLOWED FOR BS 7042 OR BS EN 50131–1 GRADE 3 SYSTEMS

Restricting duress codes to high security systems ensures that the risk warrants the facility.  Inadvertent use of the duress codes from the CIE can lead to a significant amount of false activations.

Individual applications to police forces for duress facility may be considered for Grade 3 systems if the following requirements are complied with:

- In premises that require high security and duress has been identified as an essential requirement from the risk assessment

- Duress is notified separately from the hold-up alarm signal

- Duress should not be initiated by using a digital key (fob)

- DURESS FACILITY SHOULD BE ENGINEER PROGRAMMED ONLY (DEFAULT OFF)

7)      SINGLE ACTION ‘SINGLE PUSH’ HUA DEVICES ARE NOT PERMITTED

This has been standard in the industry for many years. Systems must be upgraded to ‘double push’ HUA devices.

8)       TIME DELAY DEVICES ARE NOT PERMITTED

In these types of systems the HUA is pressed once to start a timer.  The occupier can then answer a door, check for intruders etc. If the HUA is not pressed a second time, the timer will time out and the HUA is sent.

9)      PORTABLE HUA DEVICES (WIRELESS DEVICES) SHOULD BE DEDICATED AND NOT INCORPORATE ANY OTHER FUNCTION. THEY SHOULD HAVE TWO SEPARATE BUTTONS (SYNCHRONISE PUSH TO ACTIVATE)

This requirement is to stop single button type HUAs, e.g. care alarm type systems being used for HUAs. This has been standard in the industry for many years. Systems must be upgraded to ‘double push’ wireless devices.

10)     TRAINING / RE-TRAINING OF USERS

The training of all users must be incorporated into the handover. The training of all new users must be incorporated into maintenance visits. All training must be documented.

Documentation should be provided to indicate when and when not to use an HUA device. The keyholder must be made aware of the implications resulting from misuse.